## input
Sm_Pgen_total | Wind | SC1_bus34_Inertia_On (p.u.*Machine_Mbase [s]) | SC2_bus37_Inertia_On (p.u.*Machine_Mbase [s]) | SC3_bus38_Inertia_On (p.u.*Machine_Mbase [s]) | Total_Inertia_SM_On (p.u.*Machine_Mbase [s]) | ROCOF PSSE | Nadir PSSE | rocof estimated | nadir estimated | rocof calculated | nadir calculated
1037.3412 | 2407.799 | 0 | 0 | 0 | 20890.3 | 1.8394 | 1.0016 | 1.7876 | 0.97718 | 1.7876 | 0.97718
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: real
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: obtained via python tool
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: computed in excel, see "aux"

## input Normalization
Sm_Pgen_total | Wind | SC1_bus34_Inertia_On (p.u.*Machine_Mbase [s]) | SC2_bus37_Inertia_On (p.u.*Machine_Mbase [s]) | SC3_bus38_Inertia_On (p.u.*Machine_Mbase [s]) | Total_Inertia_SM_On (p.u.*Machine_Mbase [s]) | ROCOF | Nadir |  | Sm_Pgen_total | Wind | SC1_bus34_Inertia_On (p.u.*Machine_Mbase [s]) | SC2_bus37_Inertia_On (p.u.*Machine_Mbase [s]) | SC3_bus38_Inertia_On (p.u.*Machine_Mbase [s]) | Total_Inertia_SM_On (p.u.*Machine_Mbase [s]) | ROCOF | Nadir
0.012887 | 0.96312 | 0 | 0 | 0 | 0 | 1.0021 | 0.98355 | max | 3842.7484 | 2500 | 866.4 | 1619.8 | 2300 | 34790 | 1.836 | 1.0174
[8 empty] | min | 1000.7157 | 0 | 0 | 0 | 0 | 20890.3 | 0.15974 | 0.057258

## normalization1
maxmin | Sm_Pgen_total | Wind | SC1_bus34_Inertia_On (p.u.*Machine_Mbase [s]) | SC2_bus37_Inertia_On (p.u.*Machine_Mbase [s]) | SC3_bus38_Inertia_On (p.u.*Machine_Mbase [s]) | Total_Inertia_SM_On (p.u.*Machine_Mbase [s])
max | 3842.7484 | 2500 | 866.4 | 1619.8 | 2300 | 34790
min | 1000.7157 | 0 | 0 | 0 | 0 | 20890.3

## normalization2
maxmin | ROCOF | Nadir
max | 1.836 | 1.0174
min | 0.15974 | 0.057258

## weight1
input_l | n1 | n2 | n3 | n4 | n5 | n6 | n7 | n8 | n9 | n10 | n11 | n12
Sm_Pgen_total | -1.6111 | 1.4598 | 1.5814 | -7.8069 | -0.98335 | 3.8223 | -2.2934 | 2.731 | 7.0393 | 6.1787 | -2.0002 | -0.97195
Wind | 2.0683 | 1.628 | -2.1703 | 11.9852 | 1.2982 | -2.1073 | 2.0253 | 2.5855 | -0.68101 | -5.5725 | -1.4496 | 2.6492
SC1_bus34_Inertia_On (p.u.*Machine_Mbase [s]) | -0.029118 | -0.30639 | 0.034578 | 0.029583 | 0.14895 | -0.052001 | -0.016489 | -0.089167 | -0.15313 | -0.090759 | 0.15545 | -0.03225
SC2_bus37_Inertia_On (p.u.*Machine_Mbase [s]) | -3.1074 | -0.20693 | 2.4627 | -0.79845 | 0.29222 | 0.023573 | -1.4286 | -0.12776 | -0.033845 | 0.27534 | 0.20336 | -0.13602
SC3_bus38_Inertia_On (p.u.*Machine_Mbase [s]) | -2.0198 | -9.2717 | 8.7121 | 10.6297 | -6.1877 | 0.056874 | 1.3686 | 0.12808 | 0.26694 | 0.78856 | 3.7947 | -2.3981
Total_Inertia_SM_On (p.u.*Machine_Mbase [s]) | -0.17783 | -7.5634 | 0.031798 | 1.0854 | 3.3288 | -1.439 | -3.3693 | -1.9036 | -2.4836 | -2.8237 | 3.8785 | -1.2055

## weight2
hidden_l | ROCOF | Nadir
n1 | 0.50166 | 0.46111
n2 | -0.32645 | -0.54528
n3 | 0.15387 | 0.21924
n4 | 0.10442 | -0.15439
n5 | 0.0080144 | -0.40322
n6 | 2.0702 | 0.77251
n7 | -0.17144 | -0.1695
n8 | 0.76903 | 0.12332
n9 | -0.82316 | -0.12173
n10 | -0.41302 | -0.27492
n11 | -0.65979 | 0.039518
n12 | 0.47406 | 1.9571

## bias1
bias1 | Bias hidden
n1 | -0.99148
n2 | 4.2546
n3 | -0.61754
n4 | -2.0172
n5 | -2.8696
n6 | -1.7313
n7 | 0.91401
n8 | -1.9674
n9 | -2.3829
n10 | -2.728
n11 | -0.020834
n12 | -1.0434

## bias2
bias2 | Bias output
ROCOF | 0.21984
Nadir | -0.164

## aux
1 | -1.6111 | 1.4598 | 1.5814 | -7.8069 | -0.98335 | 3.8223 | -2.2934 | 2.731 | 7.0393 | 6.1787 | -2.0002 | -0.97195 | n | features |  | m | Hidden neurons
| 2.0683 | 1.628 | -2.1703 | 11.9852 | 1.2982 | -2.1073 | 2.0253 | 2.5855 | -0.68101 | -5.5725 | -1.4496 | 2.6492
| -0.029118 | -0.30639 | 0.034578 | 0.029583 | 0.14895 | -0.052001 | -0.016489 | -0.089167 | -0.15313 | -0.090759 | 0.15545 | -0.03225
| -3.1074 | -0.20693 | 2.4627 | -0.79845 | 0.29222 | 0.023573 | -1.4286 | -0.12776 | -0.033845 | 0.27534 | 0.20336 | -0.13602
| -2.0198 | -9.2717 | 8.7121 | 10.6297 | -6.1877 | 0.056874 | 1.3686 | 0.12808 | 0.26694 | 0.78856 | 3.7947 | -2.3981
| -0.17783 | -7.5634 | 0.031798 | 1.0854 | 3.3288 | -1.439 | -3.3693 | -1.9036 | -2.4836 | -2.8237 | 3.8785 | -1.2055
2 | -0.99148
4.2546
-0.61754
-2.0172
-2.8696
-1.7313
0.91401
-1.9674
-2.3829
-2.728
-0.020834
-1.0434
3 | 0.012887 | INPUT
0.96312
0
0
0
| 0 | [11 empty] | https://medium.com/coinmonks/the-mathematics-of-neural-network-60a112dd3e05
4 | -1.6111 | 2.0683 | -0.029118 | -3.1074 | -2.0198 | -0.17783
| 1.4598 | 1.628 | -0.30639 | -0.20693 | -9.2717 | -7.5634
| 1.5814 | -2.1703 | 0.034578 | 2.4627 | 8.7121 | 0.031798
| -7.8069 | 11.9852 | 0.029583 | -0.79845 | 10.6297 | 1.0854
| -0.98335 | 1.2982 | 0.14895 | 0.29222 | -6.1877 | 3.3288
| 3.8223 | -2.1073 | -0.052001 | 0.023573 | 0.056874 | -1.439
| -2.2934 | 2.0253 | -0.016489 | -1.4286 | 1.3686 | -3.3693
| 2.731 | 2.5855 | -0.089167 | -0.12776 | 0.12808 | -1.9036
| 7.0393 | -0.68101 | -0.15313 | -0.033845 | 0.26694 | -2.4836
| 6.1787 | -5.5725 | -0.090759 | 0.27534 | 0.78856 | -2.8237
| -2.0002 | -1.4496 | 0.15545 | 0.20336 | 3.7947 | 3.8785
| -0.97195 | 2.6492 | -0.03225 | -0.13602 | -2.3981 | -1.2055
5 | 1.9713 |  | 7 | 0.97983 | values of neurons in the hidden layer
| 1.5868 |  |  | 5.8414
| -2.0699 |  |  | -2.6874
| 11.4425 |  |  | 9.4254
| 1.2376 |  |  | -1.632
| -1.9804 |  |  | -3.7117
| 1.921 |  |  | 2.835
| 2.5253 |  |  | 0.55788
| -0.56518 |  |  | -2.948
| -5.2874 |  |  | -8.0153
| -1.4219 |  |  | -1.4428
| 2.5389 |  |  | 1.4955
8 | 0.72707 | values of neurons in the hidden layer after being passed through the activation funcion (sigmoid)
activation funct | 0.9971
0.063722
0.99992
0.16356
0.023854
0.94454
0.63596
0.04983
0.00033025
0.19112
0.8169
i.e. do the same for the output | [14 empty] | n neurónios escondidos |  |  | m outputs
1 | 0.50166 | 0.46111
| -0.32645 | -0.54528
| 0.15387 | 0.21924
| 0.10442 | -0.15439
| 0.0080144 | -0.40322
| 2.0702 | 0.77251
| -0.17144 | -0.1695
| 0.76903 | 0.12332
| -0.82316 | -0.12173
| -0.41302 | -0.27492
| -0.65979 | 0.039518
| 0.47406 | 1.9571
2 | 0.21984
-0.164
3 | 0.72707
0.9971
0.063722
0.99992
0.16356
0.023854
0.94454
0.63596
0.04983
0.00033025
0.19112
0.8169
4 | 0.50166 | -0.32645 | 0.15387 | 0.10442 | 0.0080144 | 2.0702 | -0.17144 | 0.76903 | -0.82316 | -0.41302 | -0.65979 | 0.47406
| 0.46111 | -0.54528 | 0.21924 | -0.15439 | -0.40322 | 0.77251 | -0.1695 | 0.12332 | -0.12173 | -0.27492 | 0.039518 | 1.9571
5 | 0.7513
1.1222
7 | 0.97114
0.95815
8 | 0.97114 | rocof
linear function | 0.95815 | nadir
| desnormalizados |  |  |  | aux
9 | 1.7876 | rocof |  |  | ROCOF | Nadir
| 0.97718 | nadir |  | max | 1.836 | 1.0174
|  |  |  | min | 0.15974 | 0.057258